## Sheet1
[Valid	0]
[AcquisitionId	795970293]
[AcquisitionMode	]
[AcquisitionModeId	DynamicGain]
[AcquisitionNotes	Mode Type	Continuous
Offset Corr.	TRUE
Gain Corr.	TRUE
Pixel Corr.	TRUE
Averaging	FALSE
Integration	FALSE
Reset Frames	2
AEC	false]
[AcquisitionSystem	1]
[AcquisitionSystemVersion	2.7.304.16]
[BeamState	3]
[CalibrationSetId	DefaultCalibrationSetId]
[ControlPoint	1.5E-05]
[CouchLat	99.9984231637243]
[CouchLng	139.662467888965]
[CouchPit	3.40282346638529E+38]
[CouchRol	3.40282346638529E+38]
[CouchRtn	180.001953125]
[CouchVrt	117.850024179615]
[DataGain	3.40282346638529E+38]
[DataOffset	0]
[DataRescaleType	2147483647]
[DataShift	0]
[DoseConversionFactor	3.40282346638529E+38]
[ExternalBeam	0]
[ExternalTrigger	0]
[FrameRate	14.7964015151515]
[GantryRtn	-0.00663521909488196]
[HistogramBinSize	64]
[HistogramRoi	VMS.IAL.Core.Image.VGenericProperty]
[ImageFlipped	1]
[ImageMedian	4064]
[ImageMode	<ImageMode><acquisitionModeId>DynamicGain</acquisitionModeId><modeType>Continuous</modeType><publicMode>true</publicMode><gatedMode>false</gatedMode><handshake>true</handshake><radShot>false</radShot><numberOfFrames>1</numberOfFrames><numberOfFramesExemptions>None</numberOfFramesExemptions><alternatingDarkfield>false</alternatingDarkfield><stopDelay>0</stopDelay><AcquisitionBehavior><waitForExposure>true</waitForExposure><acceptNoExposure>false</acceptNoExposure><acceptValidExposure>true</acceptValidExposure><acceptInvalidExposure>false</acceptInvalidExposure><abortOnNoExposure>false</abortOnNoExposure><abortOnValidExposure>false</abortOnValidExposure><abortOnInvalidExposure>true</abortOnInvalidExposure></AcquisitionBehavior><PostProcessing><hardwareProcessing>true</hardwareProcessing><offsetCorrection>true</offsetCorrection><gainCorrection>true</gainCorrection><profileCorrection>false</profileCorrection><pixelCorrection>true</pixelCorrection><Averaging><enable>false</enable><hardwareAveraging>false</hardwareAveraging><method>equalWeighted</method><weight>0.8</weight></Averaging><subsamplingFactor>1</subsamplingFactor><histogram>true</histogram></PostProcessing><Test><idlePeriod>100</idlePeriod><changing>true</changing></Test><analogOffsetTestImage>false</analogOffsetTestImage><dcdsEnabled>true</dcdsEnabled><resetFrames>2</resetFrames><auxiliaryReceptorConfigMode>false</auxiliaryReceptorConfigMode><beamPulsePersistentTime>19</beamPulsePersistentTime><ABCStrategy>Curve</ABCStrategy><ABCParameters>targetLevel=2500</ABCParameters></ImageMode>]
[ImageModeId	DynamicGainFluoro]
[ImagePropertyVersionMajor	2]
[ImagePropertyVersionMinor	1]
[ImageSourceId	KVModule]
[ImageSourceIndex	0]
[ImageSourceType	2]
[KVAirKermaStart	-0.0270238311979387]
[KVAirKermaStop	0]
[KVAutoBrightnessControl	0]
[KVBeamHold	0]
[KVBeamOn	1]
[KVBeamPulseCounter	1]
[KVCollimatorFoil	Titanium V1]
[KVCollimatorShape	Half Fan V1]
[KVCollimatorX1	24.6995466030259]
[KVCollimatorX2	3.29995437052805]
[KVCollimatorY1	10.7006498215465]
[KVCollimatorY2	10.7005386157034]
[KVDetectorLat	-16.0000445585638]
[KVDetectorLng	0.0010195767083224]
[KVDetectorPitch	-0.00638963910817233]
[KVDetectorRtn	0.00504]
[KVDetectorVrt	-49.9974463529077]
[KVDoseAreaProductStart	-0.0011699751790488]
[KVDoseAreaProductStop	0]
[KVFluoroLevelControl	None]
[KVFocalSpot	Large]
[KVHardwareState	1507331]
[KVKiloVolts	125]
[KVMilliAmperes	15]
[KVMilliSeconds	20]
[KVNormChamber	93748]
[KVSourceLat	0]
[KVSourceLng	0.00022733127001584]
[KVSourcePitch	-0.00198683162575499]
[KVSourceRtn	89.9933647809051]
[KVSourceVrt	100.002410895022]
[LastImage	0]
[MLCCarriageA	20.4133225017416]
[MLCCarriageB	20.4128825548316]
[MLCLeafsA	VMS.IAL.Core.Image.VGenericProperty]
[MLCLeafsB	VMS.IAL.Core.Image.VGenericProperty]
[MLCModel	2]
[MMActionWindows	2]
[MMAmplitude0	10.9613745450212]
[MMAmplitude1	3.40282346638529E+38]
[MMAmplitude2	3.40282346638529E+38]
[MMBaseline_model0	VMS.IAL.Core.Image.VGenericProperty]
[MMConformityIndexOverArea	0]
[MMConformityIndexOverAreaDoserate	0]
[MMConformityIndexOverAreaDoserateRelative	0]
[MMConformityIndexOverAreaRelative	0]
[MMConformityIndexUnderArea	0]
[MMConformityIndexUnderAreaDoserate	0]
[MMConformityIndexUnderAreaDoserateRelative	0]
[MMConformityIndexUnderAreaRelative	0]
[MMExtrapolationStartTime0	1594807105]
[MMExtrapolationStartTime0Remainder	625976175]
[MMExtrapolationStartTime1	0]
[MMExtrapolationStartTime1Remainder	0]
[MMExtrapolationStartTime2	0]
[MMExtrapolationStartTime2Remainder	0]
[MMExtrapolationsAmplitude0	VMS.IAL.Core.Image.VGenericProperty]
[MMMotionModelResultType0	2]
[MMMotionModelResultType1	0]
[MMMotionModelResultType2	0]
[MMMotionModelResults0	VMS.IAL.Core.Image.VGenericProperty]
[MMPhase0	220.432452138687]
[MMPhase1	3.40282346638529E+38]
[MMPhase2	3.40282346638529E+38]
[MMPhaseTarget	3.40282346638529E+38]
[MMPredictionTime0	VMS.IAL.Core.Image.VGenericProperty]
[MMPredictionX0	VMS.IAL.Core.Image.VGenericProperty]
[MMPredictionY0	VMS.IAL.Core.Image.VGenericProperty]
[MMPredictionZ0	VMS.IAL.Core.Image.VGenericProperty]
[MMQuality0	0.122404371584699]
[MMQuality1	0]
[MMQuality2	0]
[MMQualityAmp0	-0.12164846319854]
[MMQualityAmp1	3.40282346638529E+38]
[MMQualityAmp2	3.40282346638529E+38]
[MMSegmentalAction	0]
[MMSurrogateModelResultType0	4]
[MMSurrogateModelResultType1	0]
[MMSurrogateModelResultType2	0]
[MMSurrogate_device0	VMS.IAL.Core.Image.VGenericProperty]
[MMSurrogate_fixed0	VMS.IAL.Core.Image.VGenericProperty]
[MMSurrogate_model0	VMS.IAL.Core.Image.VGenericProperty]
[MMTarget_baseline0	VMS.IAL.Core.Image.VGenericProperty]
[MMTarget_fixed0	VMS.IAL.Core.Image.VGenericProperty]
[MMTarget_model0	VMS.IAL.Core.Image.VGenericProperty]
[MMTrackingRemainderX	0]
[MMTrackingRemainderY	0]
[MMTrackingRemainderZ	0]
[MMTrackingSourceId0	NDI]
[MMTrackingSourceId1	]
[MMTrackingSourceId2	]
[MVBeamHold	0]
[MVBeamOn	0]
[MVBeamStateChange	0]
[MVCollimatorRtn	180.000017773752]
[MVCollimatorRtnSecondary	3.40282346638529E+38]
[MVCollimatorX1	7.49999961198468]
[MVCollimatorX2	7.49999797551712]
[MVCollimatorY1	7.50000018354492]
[MVCollimatorY2	7.49999727664053]
[MVDetectorLat	-2.11050285707766]
[MVDetectorLng	65.6522104092018]
[MVDetectorPitch	81.2039759425684]
[MVDetectorRtn	-0.01813]
[MVDetectorVrt	-90.2012463842254]
[MVDoseDelivered	0]
[MVDoseRate	0]
[MVDoseStart	0]
[MVDoseStop	0]
[MVEnergy	0n]
[MVSourceVrt	100]
[MotionCompensationHold	0]
[NDIToolId	MarkerBlock]
[NDIToolState	0]
[NumberOfFrames	1]
[PixelHeight	0.0388]
[PixelWidth	0.0388]
[SequenceNumber	0]
[StartTime	1594807105]
[StartTimeRemainder	603977775]
[StopTime	1594807105]
[StopTimeRemainder	623977775]
[UndefinedDouble	3.40282346638529E+38]